## Slide 1
Municipal Solar Site Review
Solar & Ag Webinar Series
Notes: Example of Cover Slide
To add a new blank Cover Slide, go to Home in the top left menu navigation > click the arrow next to New Slide > then select Cover Slide.
Text entered in the Cover Slide Title and Subtitle placeholders will automatically resize for longer text. Adjust the position of text boxes as needed.
The date will automatically update.

## Slide 2
Introduction
Jason Mulford, CPESC
Principal Environmental Analyst
10B Airline Drive, Albany, NY 12235
(518) 457-5606 | Jason Mulford@agriculture.ny.gov
Notes: Example of Section Slide
To add a new blank Section Slide, go to Home in the top left menu navigation > click the arrow next to New Slide > then select Section Slide.
To fit longer titles, adjust the position and length/height of text box as needed.

## Slide 3
Animal Industry
Plant Industry
Agricultural Development
Weights & Measures
Food Safety & Inspection
Food Laboratory
Milk Control & Dairy Services
Land & Water Resources
Major AGM divisions
Notes: Example of Content (Text) Slide
NOTE: This is a visual example of basic body (paragraph) copy and how bulleted lists will appear when using the Content Slide placeholder text box.
To add a new blank Content Slide, go to Home in the top left menu navigation > click the arrow next to New Slide > then select Content Slide.

## Slide 4
Land & Water Resources Main Program areas
Agricultural Protection Unit
Notes: Example of Content (Text) Slide
NOTE: This is a visual example of basic body (paragraph) copy and how bulleted lists will appear when using the Content Slide placeholder text box.
To add a new blank Content Slide, go to Home in the top left menu navigation > click the arrow next to New Slide > then select Content Slide.

## Slide 5
Locally Adopted state certified Agricultural districts (highlighted Programs)
Notes: Example of Content (Text) Slide
NOTE: This is a visual example of basic body (paragraph) copy and how bulleted lists will appear when using the Content Slide placeholder text box.
To add a new blank Content Slide, go to Home in the top left menu navigation > click the arrow next to New Slide > then select Content Slide.

## Slide 6
On-Farm Equipment
Solar facilities used to off-set up to 110% of on-farm electric needs are considered agricultural in nature.
Distributed Grid/Transmission Scale Solar – Programmatic review
AML 25-AA §305 Notice of Intent
Statutory Party status (Public Service Law Article 10)
Consulting Agency (Public Service Law Article VIII)
AGM Involvement with Solar Development
Notes: Example of Content (Text) Slide
NOTE: This is a visual example of basic body (paragraph) copy and how bulleted lists will appear when using the Content Slide placeholder text box.
To add a new blank Content Slide, go to Home in the top left menu navigation > click the arrow next to New Slide > then select Content Slide.

## Slide 7
SEQRA Projects
AML 25-AA §305.4
Notice of Intent (NOI)
Notes: Example of Section Slide
To add a new blank Section Slide, go to Home in the top left menu navigation > click the arrow next to New Slide > then select Section Slide.
To fit longer titles, adjust the position and length/height of text box as needed.

## Slide 8
a. Any agency of the state, any public benefit corporation or any local government which intends to acquire land or any interest therein, provided that the acquisition from any one actively operated farm within the district would be in excess of one acre … , or which intends to construct, or advance a grant, loan, interest subsidy or other funds within a district to construct, dwellings, commercial or industrial facilities, … shall use all practicable means in undertaking such action to realize the policy and goals set forth in this article, and shall act and choose alternatives which, consistent with social, economic and other essential considerations, to the maximum extent practicable, minimize or avoid adverse impacts on agriculture in order to sustain a viable farm enterprise or enterprises within the district…
AML Article 25-aa §305.4 (NOI)
Notes: Example of Content (Text) Slide
NOTE: This is a visual example of basic body (paragraph) copy and how bulleted lists will appear when using the Content Slide placeholder text box.
To add a new blank Content Slide, go to Home in the top left menu navigation > click the arrow next to New Slide > then select Content Slide.

## Slide 9
b. The agency, corporation or government proposing the action shall also, at least sixty-five days prior to such acquisition, construction or advance of public funds, file a notice of intent with the commissioner and the county agricultural and farmland protection board.
d. Upon …notice as complete, the county agricultural and farmland protection board may, within thirty days, review the proposed action and its effects on farm operations and agricultural resources within the district, and report its findings and recommendations to the commissioner and to the party proposing the action in the case of actions proposed by a state agency or public benefit corporation, and additionally to the county legislature in the case of actions proposed by local government agencies.
AML Article 25-aa §305.4 (NOI)
Notes: Example of Content (Text) Slide
NOTE: This is a visual example of basic body (paragraph) copy and how bulleted lists will appear when using the Content Slide placeholder text box.
To add a new blank Content Slide, go to Home in the top left menu navigation > click the arrow next to New Slide > then select Content Slide.

## Slide 10
In 2019, … NYSERDA required awarded projects claiming Site Character points or projects sited in Agricultural Districts to adhere to AGM’s Guidelines for Wind or Solar Energy Projects - Construction Mitigation for Agricultural Lands (AGM Guidelines). These guidelines require that Renewable Energy System developers perform certain planning, construction, post-construction, restoration, and decommissioning activities to enable agricultural lands to return to agricultural use following the completion of construction or upon decommissioning ...
In 2020, …NYSERDA introduced a required Agricultural Mitigation Payment for projects sited on 30 acres or more of MSG 1-4 in an agricultural district and continued to require that all Renewable Energy System solar awardees adhere to AGM’s Guidelines for Solar Energy Projects - Construction Mitigation for Agricultural Lands.
NYS Farmland Protection Working Group 2022 Interim Report
Notes: Example of Content (Text) Slide
NOTE: This is a visual example of basic body (paragraph) copy and how bulleted lists will appear when using the Content Slide placeholder text box.
To add a new blank Content Slide, go to Home in the top left menu navigation > click the arrow next to New Slide > then select Content Slide.

## Slide 11
Guidelines for Solar Energy Projects
Off property abandonment
Notes: Example of Content (Text) Slide
NOTE: This is a visual example of basic body (paragraph) copy and how bulleted lists will appear when using the Content Slide placeholder text box.
To add a new blank Content Slide, go to Home in the top left menu navigation > click the arrow next to New Slide > then select Content Slide.

## Slide 12
Compaction
  change in site hydrology –
    Increased runoff potential,
    Reduced infiltration capacity
    Decompaction remediation vs. installed infrastructure (buried electrical or drainage).
Drainage impacts
  Chemical changes related to long term saturation
Soil protection
Notes: Example of Content (Text) Slide
NOTE: This is a visual example of basic body (paragraph) copy and how bulleted lists will appear when using the Content Slide placeholder text box.
To add a new blank Content Slide, go to Home in the top left menu navigation > click the arrow next to New Slide > then select Content Slide.

## Slide 13
Mixing soil stratification
  Organic nutrient rich topsoil with inorganic inert subsoil
  Degradation or loss of the agricultural resource for:
    agrivoltics, or
    the potential return to agricultural production at end of facility useful life.
Soil protection
Notes: Example of Content (Text) Slide
NOTE: This is a visual example of basic body (paragraph) copy and how bulleted lists will appear when using the Content Slide placeholder text box.
To add a new blank Content Slide, go to Home in the top left menu navigation > click the arrow next to New Slide > then select Content Slide.

## Slide 14
AGM has limited influence regarding array location
  Pre-determined
    Setbacks,
    Property under control,
    SEQR,
    Interconnection with Utility,
    Landowner preferences & contracts.
  AGM reacts to NYSERDA’s interest (award), which intern enables Project investors advance to construction.
    Projects are generally mature by the time we are noticed by NYSERDA.
Siting considerations
Notes: Example of Content (Text) Slide
NOTE: This is a visual example of basic body (paragraph) copy and how bulleted lists will appear when using the Content Slide placeholder text box.
To add a new blank Content Slide, go to Home in the top left menu navigation > click the arrow next to New Slide > then select Content Slide.

## Slide 15
Nearly 100% MSG 1-4
  But under the 30-acre threshold.
Field abandonment due to setbacks
Significant vegetative screening
siting considerations
Notes: Example of Content (Text) Slide
NOTE: This is a visual example of basic body (paragraph) copy and how bulleted lists will appear when using the Content Slide placeholder text box.
To add a new blank Content Slide, go to Home in the top left menu navigation > click the arrow next to New Slide > then select Content Slide.

## Slide 16
Poor agricultural productivity
Severity of grading the site
Topsoil segregation
Phases of construction
Altered hydrology on and offsite
siting considerations
Notes: Example of Content (Text) Slide
NOTE: This is a visual example of basic body (paragraph) copy and how bulleted lists will appear when using the Content Slide placeholder text box.
To add a new blank Content Slide, go to Home in the top left menu navigation > click the arrow next to New Slide > then select Content Slide.

## Slide 17
f. At least ten days before commencing an action which has been the
subject of a notice of intent filing, the agency, corporation or
government shall certify to the commissioner that it has made an
explicit finding that the requirements of this subdivision have been
met, and that consistent with social, economic and other essential
considerations, to the maximum extent practicable, adverse agricultural
impacts revealed in the notice of intent process will be minimized or
avoided. Such certification shall set forth the reasons in support of
the finding.
AML Article 25-aa §305.4 (NOI) -Certification
Notes: Example of Content (Text) Slide
NOTE: This is a visual example of basic body (paragraph) copy and how bulleted lists will appear when using the Content Slide placeholder text box.
To add a new blank Content Slide, go to Home in the top left menu navigation > click the arrow next to New Slide > then select Content Slide.

## Slide 18
Differing Collection line
Much more extensive grading
  Unknown topsoil preservation efforts
Un-restored laydown areas
Amendments and NOI Certification
Notes: Example of Content (Text) Slide
NOTE: This is a visual example of basic body (paragraph) copy and how bulleted lists will appear when using the Content Slide placeholder text box.
To add a new blank Content Slide, go to Home in the top left menu navigation > click the arrow next to New Slide > then select Content Slide.

## Slide 19
Red polygon represents the reviewed NOI Project
200-foot deviation
Field abandonment not previously considered
Significant rutting and un-restored areas
Amendments and NOI Certification
Notes: Example of Content (Text) Slide
NOTE: This is a visual example of basic body (paragraph) copy and how bulleted lists will appear when using the Content Slide placeholder text box.
To add a new blank Content Slide, go to Home in the top left menu navigation > click the arrow next to New Slide > then select Content Slide.

## Slide 20
NOI Certification checks
Solar foundation impacts to sub-surface drainage induced seasonal flooding impacting off site agricultural lands. Additional restoration is on-going.
Notes: Example of Content (Text) Slide
NOTE: This is a visual example of basic body (paragraph) copy and how bulleted lists will appear when using the Content Slide placeholder text box.
To add a new blank Content Slide, go to Home in the top left menu navigation > click the arrow next to New Slide > then select Content Slide.

## Slide 21
decommissioning
Notes: Example of Section Slide
To add a new blank Section Slide, go to Home in the top left menu navigation > click the arrow next to New Slide > then select Section Slide.
To fit longer titles, adjust the position and length/height of text box as needed.

## Slide 22
Ensuring topsoil preservation during construction and restoration.
  Document where topsoil is spread for decommissioning restoration.
Regrading potential
Access road/ fence retention based on retuning farm need at decommission.
Vegetative screening removal
Collection
  >4’ outside array – abandon in place
  <4’ inside array – full removal
  Missing Photo due to no facilities yet decommissioned returning to agriculture.
Decommissioning highlights
Notes: Example of Content (Text) Slide
NOTE: This is a visual example of basic body (paragraph) copy and how bulleted lists will appear when using the Content Slide placeholder text box.
To add a new blank Content Slide, go to Home in the top left menu navigation > click the arrow next to New Slide > then select Content Slide.

## Slide 23
Agrivoltaics/
Co-Utilization Mitigation Focus
Notes: Example of Section Slide
To add a new blank Section Slide, go to Home in the top left menu navigation > click the arrow next to New Slide > then select Section Slide.
To fit longer titles, adjust the position and length/height of text box as needed.

## Slide 24
11. "Farm operation" means the land and on-farm buildings, equipment, manure processing and handling facilities, and practices which contribute to the production, preparation and marketing of crops, livestock and livestock products as a commercial enterprise, … Such farm operation may consist of one or more parcels of owned or rented land, which parcels may be contiguous or noncontiguous to each other.
AML 25-AA §301 Definitions
Notes: Example of Content (Text) Slide
NOTE: This is a visual example of basic body (paragraph) copy and how bulleted lists will appear when using the Content Slide placeholder text box.
To add a new blank Content Slide, go to Home in the top left menu navigation > click the arrow next to New Slide > then select Content Slide.

## Slide 25
2. "Crops, livestock and livestock products" shall include but not be limited to the following:
a. Field crops, including corn, wheat, oats, rye, barley, hay, potatoes and dry beans.
b. Fruits, including apples, peaches, grapes, cherries, berries, and tree nuts.
c. Vegetables, including tomatoes, snap beans, cabbage, carrots, beets and onions.
d. Horticultural specialties, including nursery stock, ornamental shrubs, ornamental trees and flowers.
e. Livestock and livestock products, including cattle, sheep, hogs, goats, horses, poultry, ratites, such as ostriches, emus, rheas and kiwis, farmed deer, farmed buffalo, fur bearing animals, wool bearing animals, such as alpacas and llamas, milk, eggs and furs.
f. Maple sap.
g. Christmas trees derived from a managed Christmas tree operation whether dug for transplanting or cut from the stump.
AML 25-AA §301 Definitions
Notes: Example of Content (Text) Slide
NOTE: This is a visual example of basic body (paragraph) copy and how bulleted lists will appear when using the Content Slide placeholder text box.
To add a new blank Content Slide, go to Home in the top left menu navigation > click the arrow next to New Slide > then select Content Slide.

## Slide 26
2. "Crops, livestock and livestock products" shall include but not be limited to the following:
h. Aquaculture products, including fish, fish products, water plants and shellfish.
i. Woody biomass, which means short rotation woody crops raised for bioenergy, and shall not include farm woodland.
j. Apiary products, including honey, beeswax, royal jelly, bee pollen, propolis, package bees, nucs and queens. For the purposes of this paragraph, "nucs" shall mean small honey bee colonies created from larger colonies including the nuc box, which is a smaller version of a beehive, designed to hold up to five frames from an existing colony.
k. Actively managed log-grown woodland mushrooms.
l. Industrial hemp as defined in section five hundred five of this chapter.
m. Cannabis when cultivated in accordance with the cannabis law.
AML 25-AA §301 Definitions
Notes: Example of Content (Text) Slide
NOTE: This is a visual example of basic body (paragraph) copy and how bulleted lists will appear when using the Content Slide placeholder text box.
To add a new blank Content Slide, go to Home in the top left menu navigation > click the arrow next to New Slide > then select Content Slide.

## Slide 27
Hay forage production
Notes: Example of Content (Text) Slide
NOTE: This is a visual example of basic body (paragraph) copy and how bulleted lists will appear when using the Content Slide placeholder text box.
To add a new blank Content Slide, go to Home in the top left menu navigation > click the arrow next to New Slide > then select Content Slide.

## Slide 28
SEQRA Projects
Title 6 NYCRR
PART 617.6 SEQR
Notes: Example of Section Slide
To add a new blank Section Slide, go to Home in the top left menu navigation > click the arrow next to New Slide > then select Section Slide.
To fit longer titles, adjust the position and length/height of text box as needed.

## Slide 29
Initial review of actions. …
  (1) As early as possible in an agency's formulation of an action it proposes to undertake, or as soon as an agency receives an application for funding or for approval of an action, it must do the following:
    (iii) determine whether the action may involve one or more other agencies; and
  (5) Determine whether the Type I or Unlisted action is located in an agricultural district and comply with the provisions of subdivision (4) of section 305 of article 25-AA of the Agriculture and Markets Law, if applicable.
617.6 Initial review of actions and establishing lead agency
Notes: Example of Content (Text) Slide
NOTE: This is a visual example of basic body (paragraph) copy and how bulleted lists will appear when using the Content Slide placeholder text box.
To add a new blank Content Slide, go to Home in the top left menu navigation > click the arrow next to New Slide > then select Content Slide.

## Slide 30
Does the EAF locate the project in and locally adopted, State Certified Agricultural District.
  Cornell Institute for Resource Information Sciences (Cornell IRIS) uploads to Cornell University Geospatial Information Repository (CUGIR)
Is the proposed solar facilities are constructed without NYS funds?
Is the proposed solar facilities are constructed without USDA Rural Energy for America Program (REAP) funds?
  USDA Program managers may request State review, although possibly not required by NYS statute.
617.6 Initial review of actions and establishing lead agency
Notes: Example of Content (Text) Slide
NOTE: This is a visual example of basic body (paragraph) copy and how bulleted lists will appear when using the Content Slide placeholder text box.
To add a new blank Content Slide, go to Home in the top left menu navigation > click the arrow next to New Slide > then select Content Slide.

## Slide 31
SEQRA Projects
Title 6 Code of Rules & Regulation (NYCRR)
PART 617. STATE ENVIRONMENTAL QUALITY REVIEW (SEQR)
Notes: Example of Section Slide
To add a new blank Section Slide, go to Home in the top left menu navigation > click the arrow next to New Slide > then select Section Slide.
To fit longer titles, adjust the position and length/height of text box as needed.

## Slide 32
3. Proposed actions subject to referral.
  a) The following proposed actions shall be subject to the referral requirements of this section, if they apply to real property set forth in paragraph (b) of this subdivision:
    (i) adoption or amendment of a comprehensive plan …; (ii) adoption or amendment of a zoning ordinance or local law; (iii) issuance of special use permits; (iv) approval of site plans; (v) granting of use or area variances; (vi) other authorizations …
  (b) The proposed actions set forth in paragraph (a) of this subdivision shall be subject to the referral requirements of this section if they apply to real property within five hundred feet of the following:
    (vi) the boundary of a farm operation located in an agricultural district, as defined by article twenty-five-AA of the agriculture and markets law, except this subparagraph shall not apply to the granting of area variances.
General Municipal (GMU) CHAPTER 24, ARTICLE 12-B SECTION 239-M
Notes: Example of Content (Text) Slide
NOTE: This is a visual example of basic body (paragraph) copy and how bulleted lists will appear when using the Content Slide placeholder text box.
To add a new blank Content Slide, go to Home in the top left menu navigation > click the arrow next to New Slide > then select Content Slide.

## Slide 33
Notes: Example of End Slide
To add a new blank End Slide, go to Home in the top left menu navigation > click the arrow next to New Slide > then select End Slide.